## SLIM LED 2.0 PRODUCT DETAILS
PART NO | MODEL | LENGTH | LENS TYPE | WATTAGE | LUMENS | COLOR | CONFIGURATION | Bundle Parts | SPEC SHEETS | IMAGE
SLM501000 | SLM-C 7 | 7.72" | Clear | 2.8W | 252 | 5000K | Standard - 24V | None | https://waldmannlighting.com/wp-content/uploads/DISTSPECSHEETSFINAL/SLM501000.pdf | https://waldmannlighting.com/wp-content/uploads/DISTIMAGESFINAL/SLM501000.jpg
SLM502000 | SLM-C 13 | 13.23" | Clear | 5.6W | 504 | 5000K | Standard - 24V | None | https://waldmannlighting.com/wp-content/uploads/DISTSPECSHEETSFINAL/SLM502000.pdf | https://waldmannlighting.com/wp-content/uploads/DISTIMAGESFINAL/SLM502000.jpg
SLM503000 | SLM-C 24 | 24.25" | Clear | 11.2W | 1008 | 5000K | Standard - 24V | None | https://waldmannlighting.com/wp-content/uploads/DISTSPECSHEETSFINAL/SLM503000.pdf | https://waldmannlighting.com/wp-content/uploads/DISTIMAGESFINAL/SLM503000.jpg
SLM504000 | SLM-C 35 | 35.28" | Clear | 16.8W | 1512 | 5000K | Standard - 24V | None | https://waldmannlighting.com/wp-content/uploads/DISTSPECSHEETSFINAL/SLM504000.pdf | https://waldmannlighting.com/wp-content/uploads/DISTIMAGESFINAL/SLM504000.jpg
SLM505000 | SLM-C 46 | 46.30" | Clear | 22.4W | 2016 | 5000K | Standard - 24V | None | https://waldmannlighting.com/wp-content/uploads/DISTSPECSHEETSFINAL/SLM505000.pdf | https://waldmannlighting.com/wp-content/uploads/DISTIMAGESFINAL/SLM505000.jpg
SLM501001 | SLM-S 7 | 7.72" | Satine | 2.8W | 252 | 5000K | Standard - 24V | None | https://waldmannlighting.com/wp-content/uploads/DISTSPECSHEETSFINAL/SLM501001.pdf | https://waldmannlighting.com/wp-content/uploads/DISTIMAGESFINAL/SLM501001.jpg
SLM502001 | SLM-S 13 | 13.23" | Satine | 5.6W | 504 | 5000K | Standard - 24V | None | https://waldmannlighting.com/wp-content/uploads/DISTSPECSHEETSFINAL/SLM502001.pdf | https://waldmannlighting.com/wp-content/uploads/DISTIMAGESFINAL/SLM502001.jpg
SLM503001 | SLM-S 24 | 24.25" | Satine | 11.2W | 1008 | 5000K | Standard - 24V | None | https://waldmannlighting.com/wp-content/uploads/DISTSPECSHEETSFINAL/SLM503001.pdf | https://waldmannlighting.com/wp-content/uploads/DISTIMAGESFINAL/SLM503001.jpg
SLM504001 | SLM-S 35 | 35.28" | Satine | 16.8W | 1512 | 5000K | Standard - 24V | None | https://waldmannlighting.com/wp-content/uploads/DISTSPECSHEETSFINAL/SLM504001.pdf | https://waldmannlighting.com/wp-content/uploads/DISTIMAGESFINAL/SLM504001.jpg
SLM505001 | SLM-S 46 | 46.30" | Satine | 22.4W | 2016 | 5000K | Standard - 24V | None | https://waldmannlighting.com/wp-content/uploads/DISTSPECSHEETSFINAL/SLM505001.pdf | https://waldmannlighting.com/wp-content/uploads/DISTIMAGESFINAL/SLM505001.jpg
SLMAM1000 | SLM-C 7 | 7.72" | Clear | 2.8W | 44.8 | Amber, 590NM | Standard - 24V | None | https://waldmannlighting.com/wp-content/uploads/DISTSPECSHEETSFINAL/SLMAM1000.pdf | https://waldmannlighting.com/wp-content/uploads/DISTIMAGESFINAL/SLMAM1000.jpg
SLMAM2000 | SLM-C 13 | 13.23" | Clear | 5.6W | 89.6 | Amber, 590NM | Standard - 24V | None | https://waldmannlighting.com/wp-content/uploads/DISTSPECSHEETSFINAL/SLMAM2000.pdf | https://waldmannlighting.com/wp-content/uploads/DISTIMAGESFINAL/SLMAM2000.jpg
SLMAM3000 | SLM-C 24 | 24.25" | Clear | 11.2W | 179.2 | Amber, 590NM | Standard - 24V | None | https://waldmannlighting.com/wp-content/uploads/DISTSPECSHEETSFINAL/SLMAM3000.pdf | https://waldmannlighting.com/wp-content/uploads/DISTIMAGESFINAL/SLMAM3000.jpg
SLMAM4000 | SLM-C 35 | 35.28" | Clear | 16.8W | 268.8 | Amber, 590NM | Standard - 24V | None | https://waldmannlighting.com/wp-content/uploads/DISTSPECSHEETSFINAL/SLMAM4000.pdf | https://waldmannlighting.com/wp-content/uploads/DISTIMAGESFINAL/SLMAM4000.jpg
SLMAM5000 | SLM-C 46 | 46.30" | Clear | 22.4W | 358.4 | Amber, 590NM | Standard - 24V | None | https://waldmannlighting.com/wp-content/uploads/DISTSPECSHEETSFINAL/SLMAM5000.pdf | https://waldmannlighting.com/wp-content/uploads/DISTIMAGESFINAL/SLMAM5000.jpg
SLM501SW0-120 | SLM-C 7 | 7.72" | Clear | 2.8W | 252 | 5000K | Bundle 120V | M12 Cord, In-line switch, 120-24V Transformer, NEMA 1-15P | https://waldmannlighting.com/wp-content/uploads/DISTSPECSHEETSFINAL/SLM501SW0-120.pdf | https://waldmannlighting.com/wp-content/uploads/DISTIMAGESFINAL/SLM501SW0-120.jpg
SLM502SW0-120 | SLM-C 13 | 13.23" | Clear | 5.6W | 504 | 5000K | Bundle 120V | M12 Cord, In-line switch, 120-24V Transformer, NEMA 1-15P | https://waldmannlighting.com/wp-content/uploads/DISTSPECSHEETSFINAL/SLM502SW0-120.pdf | https://waldmannlighting.com/wp-content/uploads/DISTIMAGESFINAL/SLM502SW0-120.jpg
SLM503SW0-120 | SLM-C 24 | 24.25" | Clear | 11.2W | 1008 | 5000K | Bundle 120V | M12 Cord, In-line switch, 120-24V Transformer, NEMA 1-15P | https://waldmannlighting.com/wp-content/uploads/DISTSPECSHEETSFINAL/SLM503SW0-120.pdf | https://waldmannlighting.com/wp-content/uploads/DISTIMAGESFINAL/SLM503SW0-120.jpg
SLM504SW0-120 | SLM-C 35 | 35.28" | Clear | 16.8W | 1512 | 5000K | Bundle 120V | M12 Cord, In-line switch, 120-24V Transformer, NEMA 1-15P | https://waldmannlighting.com/wp-content/uploads/DISTSPECSHEETSFINAL/SLM504SW0-120.pdf | https://waldmannlighting.com/wp-content/uploads/DISTIMAGESFINAL/SLM504SW0-120.jpg
SLM505SW0-120 | SLM-C 46 | 46.30" | Clear | 22.4W | 2016 | 5000K | Bundle 120V | M12 Cord, In-line switch, 120-24V Transformer, NEMA 1-15P | https://waldmannlighting.com/wp-content/uploads/DISTSPECSHEETSFINAL/SLM505SW0-120.pdf | https://waldmannlighting.com/wp-content/uploads/DISTIMAGESFINAL/SLM505SW0-120.jpg
SLM501SW1-120 | SLM-S 7 | 7.72" | Satine | 2.8W | 252 | 5000K | Bundle 120V | M12 Cord, In-line switch, 120-24V Transformer, NEMA 1-15P | https://waldmannlighting.com/wp-content/uploads/DISTSPECSHEETSFINAL/SLM501SW1-120.pdf | https://waldmannlighting.com/wp-content/uploads/DISTIMAGESFINAL/SLM501SW1-120.jpg
SLM502SW1-120 | SLM-S 13 | 13.23" | Satine | 5.6W | 504 | 5000K | Bundle 120V | M12 Cord, In-line switch, 120-24V Transformer, NEMA 1-15P | https://waldmannlighting.com/wp-content/uploads/DISTSPECSHEETSFINAL/SLM502SW1-120.pdf | https://waldmannlighting.com/wp-content/uploads/DISTIMAGESFINAL/SLM502SW1-120.jpg
SLM503SW1-120 | SLM-S 24 | 24.25" | Satine | 11.2W | 1008 | 5000K | Bundle 120V | M12 Cord, In-line switch, 120-24V Transformer, NEMA 1-15P | https://waldmannlighting.com/wp-content/uploads/DISTSPECSHEETSFINAL/SLM503SW1-120.pdf | https://waldmannlighting.com/wp-content/uploads/DISTIMAGESFINAL/SLM503SW1-120.jpg
SLM504SW1-120 | SLM-S 35 | 35.28" | Satine | 16.8W | 1512 | 5000K | Bundle 120V | M12 Cord, In-line switch, 120-24V Transformer, NEMA 1-15P | https://waldmannlighting.com/wp-content/uploads/DISTSPECSHEETSFINAL/SLM504SW1-120.pdf | https://waldmannlighting.com/wp-content/uploads/DISTIMAGESFINAL/SLM504SW1-120.jpg
SLM505SW1-120 | SLM-S 46 | 46.30" | Satine | 22.4W | 2016 | 5000K | Bundle 120V | M12 Cord, In-line switch, 120-24V Transformer, NEMA 1-15P | https://waldmannlighting.com/wp-content/uploads/DISTSPECSHEETSFINAL/SLM505SW1-120.pdf | https://waldmannlighting.com/wp-content/uploads/DISTIMAGESFINAL/SLM505SW1-120.jpg
SLMAM1SW0-120 | SLM-C 7 | 7.72" | Clear | 2.8W | 44.8 | Amber, 590NM | Bundle 120V | M12 Cord, In-line switch, 120-24V Transformer, NEMA 1-15P | https://waldmannlighting.com/wp-content/uploads/DISTSPECSHEETSFINAL/SLMAM1SW0-120.pdf | https://waldmannlighting.com/wp-content/uploads/DISTIMAGESFINAL/SLMAM1SW0-120.jpg
SLMAM2SW0-120 | SLM-C 13 | 13.23" | Clear | 5.6W | 89.6 | Amber, 590NM | Bundle 120V | M12 Cord, In-line switch, 120-24V Transformer, NEMA 1-15P | https://waldmannlighting.com/wp-content/uploads/DISTSPECSHEETSFINAL/SLMAM2SW0-120.pdf | https://waldmannlighting.com/wp-content/uploads/DISTIMAGESFINAL/SLMAM2SW0-120.jpg
SLMAM3SW0-120 | SLM-C 24 | 24.25" | Clear | 11.2W | 179.2 | Amber, 590NM | Bundle 120V | M12 Cord, In-line switch, 120-24V Transformer, NEMA 1-15P | https://waldmannlighting.com/wp-content/uploads/DISTSPECSHEETSFINAL/SLMAM3SW0-120.pdf | https://waldmannlighting.com/wp-content/uploads/DISTIMAGESFINAL/SLMAM3SW0-120.jpg
SLMAM4SW0-120 | SLM-C 35 | 35.28" | Clear | 16.8W | 268.8 | Amber, 590NM | Bundle 120V | M12 Cord, In-line switch, 120-24V Transformer, NEMA 1-15P | https://waldmannlighting.com/wp-content/uploads/DISTSPECSHEETSFINAL/SLMAM4SW0-120.pdf | https://waldmannlighting.com/wp-content/uploads/DISTIMAGESFINAL/SLMAM4SW0-120.jpg
SLMAM5SW0-120 | SLM-C 46 | 46.30" | Clear | 22.4W | 358.4 | Amber, 590NM | Bundle 120V | M12 Cord, In-line switch, 120-24V Transformer, NEMA 1-15P | https://waldmannlighting.com/wp-content/uploads/DISTSPECSHEETSFINAL/SLMAM5SW0-120.pdf | https://waldmannlighting.com/wp-content/uploads/DISTIMAGESFINAL/SLMAM5SW0-120.jpg
SLM501SW0-24 | SLM-C 7 | 7.72" | Clear | 2.8W | 252 | 5000K | Bundle 24V | M12 Cord, In-line switch | https://waldmannlighting.com/wp-content/uploads/DISTSPECSHEETSFINAL/SLM501SW0-24.pdf | https://waldmannlighting.com/wp-content/uploads/DISTIMAGESFINAL/SLM501SW0-24.jpg
SLM502SW0-24 | SLM-C 13 | 13.23" | Clear | 5.6W | 504 | 5000K | Bundle 24V | M12 Cord, In-line switch | https://waldmannlighting.com/wp-content/uploads/DISTSPECSHEETSFINAL/SLM502SW0-24.pdf | https://waldmannlighting.com/wp-content/uploads/DISTIMAGESFINAL/SLM502SW0-24.jpg
SLM503SW0-24 | SLM-C 24 | 24.25" | Clear | 11.2W | 1008 | 5000K | Bundle 24V | M12 Cord, In-line switch | https://waldmannlighting.com/wp-content/uploads/DISTSPECSHEETSFINAL/SLM503SW0-24.pdf | https://waldmannlighting.com/wp-content/uploads/DISTIMAGESFINAL/SLM503SW0-24.jpg
SLM504SW0-24 | SLM-C 35 | 35.28" | Clear | 16.8W | 1512 | 5000K | Bundle 24V | M12 Cord, In-line switch | https://waldmannlighting.com/wp-content/uploads/DISTSPECSHEETSFINAL/SLM504SW0-24.pdf | https://waldmannlighting.com/wp-content/uploads/DISTIMAGESFINAL/SLM504SW0-24.jpg
SLM505SW0-24 | SLM-C 46 | 46.30" | Clear | 22.4W | 2016 | 5000K | Bundle 24V | M12 Cord, In-line switch | https://waldmannlighting.com/wp-content/uploads/DISTSPECSHEETSFINAL/SLM505SW0-24.pdf | https://waldmannlighting.com/wp-content/uploads/DISTIMAGESFINAL/SLM505SW0-24.jpg
SLM501SW1-24 | SLM-S 7 | 7.72" | Satine | 2.8W | 252 | 5000K | Bundle 24V | M12 Cord, In-line switch | https://waldmannlighting.com/wp-content/uploads/DISTSPECSHEETSFINAL/SLM501SW1-24.pdf | https://waldmannlighting.com/wp-content/uploads/DISTIMAGESFINAL/SLM501SW1-24.jpg
SLM502SW1-24 | SLM-S 13 | 13.23" | Satine | 5.6W | 504 | 5000K | Bundle 24V | M12 Cord, In-line switch | https://waldmannlighting.com/wp-content/uploads/DISTSPECSHEETSFINAL/SLM502SW1-24.pdf | https://waldmannlighting.com/wp-content/uploads/DISTIMAGESFINAL/SLM502SW1-24.jpg
SLM503SW1-24 | SLM-S 24 | 24.25" | Satine | 11.2W | 1008 | 5000K | Bundle 24V | M12 Cord, In-line switch | https://waldmannlighting.com/wp-content/uploads/DISTSPECSHEETSFINAL/SLM503SW1-24.pdf | https://waldmannlighting.com/wp-content/uploads/DISTIMAGESFINAL/SLM503SW1-24.jpg
SLM504SW1-24 | SLM-S 35 | 35.28" | Satine | 16.8W | 1512 | 5000K | Bundle 24V | M12 Cord, In-line switch | https://waldmannlighting.com/wp-content/uploads/DISTSPECSHEETSFINAL/SLM504SW1-24.pdf | https://waldmannlighting.com/wp-content/uploads/DISTIMAGESFINAL/SLM504SW1-24.jpg
SLM505SW1-24 | SLM-S 46 | 46.30" | Satine | 22.4W | 2016 | 5000K | Bundle 24V | M12 Cord, In-line switch | https://waldmannlighting.com/wp-content/uploads/DISTSPECSHEETSFINAL/SLM505SW1-24.pdf | https://waldmannlighting.com/wp-content/uploads/DISTIMAGESFINAL/SLM505SW1-24.jpg
SLMAM1SW0-24 | SLM-C 7 | 7.72" | Clear | 2.8W | 44.8 | Amber, 590NM | Bundle 24V | M12 Cord, In-line switch | https://waldmannlighting.com/wp-content/uploads/DISTSPECSHEETSFINAL/SLMAM1SW0-24.pdf | https://waldmannlighting.com/wp-content/uploads/DISTIMAGESFINAL/SLMAM1SW0-24.jpg
SLMAM2SW0-24 | SLM-C 13 | 13.23" | Clear | 5.6W | 89.6 | Amber, 590NM | Bundle 24V | M12 Cord, In-line switch | https://waldmannlighting.com/wp-content/uploads/DISTSPECSHEETSFINAL/SLMAM2SW0-24.pdf | https://waldmannlighting.com/wp-content/uploads/DISTIMAGESFINAL/SLMAM2SW0-24.jpg
SLMAM3SW0-24 | SLM-C 24 | 24.25" | Clear | 11.2W | 179.2 | Amber, 590NM | Bundle 24V | M12 Cord, In-line switch | https://waldmannlighting.com/wp-content/uploads/DISTSPECSHEETSFINAL/SLMAM3SW0-24.pdf | https://waldmannlighting.com/wp-content/uploads/DISTIMAGESFINAL/SLMAM3SW0-24.jpg
SLMAM4SW0-24 | SLM-C 35 | 35.28" | Clear | 16.8W | 268.8 | Amber, 590NM | Bundle 24V | M12 Cord, In-line switch | https://waldmannlighting.com/wp-content/uploads/DISTSPECSHEETSFINAL/SLMAM4SW0-24.pdf | https://waldmannlighting.com/wp-content/uploads/DISTIMAGESFINAL/SLMAM4SW0-24.jpg
SLMAM5SW0-24 | SLM-C 46 | 46.30" | Clear | 22.4W | 358.4 | Amber, 590NM | Bundle 24V | M12 Cord, In-line switch | https://waldmannlighting.com/wp-content/uploads/DISTSPECSHEETSFINAL/SLMAM5SW0-24.pdf | https://waldmannlighting.com/wp-content/uploads/DISTIMAGESFINAL/SLMAM5SW0-24.jpg

## ACCCCESSORIES TAB
Part Number | Description | Image | Image
US0285053 | SWITCH, 2-POSITION IN-LINE, ROCKER ON/OFF, M12 NOTE: Switch Included in all Bundles | https://waldmannlighting.com/wp-content/uploads/DISTIMAGESFINAL/US0285053.jpg
309414020 | TRANSFORMER, 120V-24V, NEMA 1-15P For 120V models | https://waldmannlighting.com/wp-content/uploads/DISTIMAGESFINAL/309414020.jpg
US0009001 | CORDSET, M12 CONNECTOR For 24V models | https://waldmannlighting.com/wp-content/uploads/DISTIMAGESFINAL/US0009001.jpg
336615M19 | 5-PIN, A-CODED CONNECTOR, FOR CABLE DIAM. 4-6MM, 60VDC MAX (THROUGH-WIRE) NOTE: Connector Included in all Bundles | https://waldmannlighting.com/wp-content/uploads/DISTIMAGESFINAL/336615M19.jpg